# RTU Requirements and Specifications

## Existing RTU Controller

| Item | Details / To be Filled |
| --- | --- |
| RTU Controller Model Used | To be filled |
| Key Specifications of the Controller | (To be filled e.g., CPU type, memory, operating voltage and frequency, I/O capabilities) |
| Hardware-level Security Features (if any) | (To be filled e.g., encryption engines, secure boot, hardware watchdog) |

## RTU Controller for New Design

| Item | Details / To be Filled |
| --- | --- |
| Selection Criteria | Based on existing specifications, interface requirements, and new system needs |
| Finalized Controller | To be decided after analysis |

## Specifications of Existing RTU Hardware

| Component | Specification / Details |
| --- | --- |
| Number of Digital Inputs | To be filled |
| Digital Input Voltage Levels | To be filled |
| Isolation/Protection Scheme (DI) | (To be filled e.g., opto-isolation, TVS diode, etc.) |
| Number of Digital Outputs | To be filled |
| Digital Output Voltage Levels | To be filled |
| Isolation/Protection Scheme (DO) | To be filled |
| Number of Analog Inputs | To be filled |
| Analog Input Voltage Ranges and Accuracy | To be filled |
| Number of Analog Outputs | To be filled |
| Analog Output Voltage Ranges and Accuracy | To be filled |
| Number of Serial Ports | 2 |
| Transceiver Level Specification (Serial 1) | [To be filled: RS232 or RS485] |
| Transceiver Level Specification (Serial 2) | [To be filled: RS232 or RS485] |
| Purpose of Serial Port 1 | Diagnostic communication with PDU Software |
| Purpose of Serial Port 2 | Communication with SCADA System |
| Key Components in Existing RTU Design | (To be filled e.g., microcontroller, communication ICs, wireless/Ethernet modules, RTC, etc.) |
| Interface Connectors Used | (e.g., DB9, Phoenix connectors, RJ45, terminal blocks) |

## Block Diagram of Existing RTU Design

[To be prepared]
A detailed block diagram must include:

- Microcontroller

- I/O Interfaces

- Power Management

- Serial Communication Interface

- Isolation & Protection Components

- Connector Interfaces

## Functional Specifications of Existing RTU

| Functionality | Specification / Notes |
| --- | --- |
| Core Role in System | (To be filled e.g., data acquisition, digital control, protocol translation, event logging, etc.) |
| Input Processing Logic | To be filled |
| Output Control Strategy | To be filled |
| Communication Protocol Handling | To be filled |
| Power Management Features | To be filled |
| Diagnostic Capabilities | To be filled |
| Upgrade/Debug Interface | To be filled |

## Hardware Diagnosis of New RTU Design

| Item | Status / Notes |
| --- | --- |
| Compatibility with Existing PDU Software |  |
| Has eSpark Team Ever Connected RTU with PDU? |  |
| Observed Results and Status | (e.g., success/failure, communication stability, data exchange verification) |

## SCADA System Requirements

SCADA system requirements, including backend, cloud database integration, and additional features, will be discussed and documented in the next phase.

## Interface between RTU and SCADA

| Interface Scenario | Details / Notes |
| --- | --- |
| Primary Communication Method | Serial Port (confirmed) |
| Confirmed Serial Port Level | [To be filled: RS232 / RS485] |
| Confirmed Protocol | IEC 60870-5-101 |
| Any Other Communication Interfaces | (e.g., Ethernet, 4G, Wi-Fi — if available) |
| Other Use-case Based Scenarios | [If any exist, mention; else, mark “N/A”] |
| Clarification Needed from Client on Interfaces | [List all points where the hardware/protocol/interface scenario is unclear] |

## Communication Protocol Specifications

### Protocol Overview

| Parameter | Details |
| --- | --- |
| Protocol | IEC 60870-5-101 (IEC 101) |
| Purpose | Serial-based SCADA communication (Master ↔ Slave) |
| Transmission Mode | Unbalanced (Master initiates all communication) |
| Physical Interface | Serial (RS-232 / RS-485) |

### Communication Settings

| Setting | Value |
| --- | --- |
| Serial Port | RS-232 (COM3) |
| Baud Rate | 115200 (Diagnostic) / 9600 (Master) |
| Data Bits | 8 |
| Parity | Even |
| Stop Bits | 1 |
| Protocol | IEC 60870-5-101 |
| Mode | Unbalanced |
| RTS | Disabled |

### IEC 60870-5-101 Packet Structure Configuration

| Field | Byte Size | Description |
| --- | --- | --- |
| Link Address (LA) | 2 bytes | Identifies the RTU over physical link |
| Common Address of ASDU | 2 bytes | Identifies the station or device in ASDU |
| Information Object Address | 2 bytes | Identifies the individual data point |
| Cause Of Transmission (COT) | 1 byte | Indicates the reason for message transmission (e.g., spontaneous, command) |
| Address Structure (Private) | C3 | Vendor-specific custom structure (Viscon-specific) |

### Additional Parameters

| Parameter | Value |
| --- | --- |
| Out of Sync (minutes) | 60 |
| Sample Period (seconds) | 0 |
| UTC Offset (hours) | +8 |
| Packet Limit (bytes) | 255 |

## Conclusion

The above documentation captures the current understanding and configuration requirements of the RTU system interfacing with a SCADA master using the IEC 60870-5-101 protocol over a serial interface. The details outlined here—including communication parameters, hardware specifications, and packet structure—serve as the foundation for both evaluating the existing RTU implementation and guiding the development of a new RTU design.

Key open items such as the existing RTU controller specifications, I/O configuration, transceiver levels, and component list must be filled by the respective technical team. Accurate and complete input in these areas will ensure proper continuity in selecting suitable hardware for future enhancements and enable seamless integration with diagnostic tools like the PDU software as well as SCADA systems.

It is critical that all unknowns or unclear interface scenarios are addressed early by raising formal queries to the client. This will avoid assumptions and help in developing a robust and compliant solution aligned with operational requirements.

Once the missing specifications are filled in and confirmed, the team can proceed confidently with:

- Finalizing the new RTU controller,

- Preparing the updated hardware block diagram,

- Establishing formal communication test procedures,

- And ensuring compatibility with existing SCADA infrastructure.

This document will serve as a living reference as the design evolves and should be updated accordingly.